## Panel-LED RFQ
Rev 3, 2022-10-06
Panel-LED Configurator
ORDER TYPE |  | NEW ORDER |  |  | APPROVED BY |  | N/A |  |  | RUSH
SUBMIT DATE |  | 2022-10-06 |  |  | SUBMITTED BY |  | FirstName LastName
RFQ NO. |  | Q12345 |  |  | PROJECT QTYS |  | 1 | 10 | 1000 |  | 10000
S:1 MECHANICAL | [9 empty] | Max 118"
BASE MODEL |  |  | Frameless | [6 empty] | 36 |  | INCHES | LONGER length across top or bottom sides of panel is 36 inches
FI_Frameless
PI_Frameless
Max 98"
24
INCHES
FRAME COLOR |  |  | N/A |  | FALSE
COLOR TEMP (K) |  |  | 5000K
DIFFUSER |  |  | None |  |  |  | SHORTER length across left or right side of panel is 24 inches
S:1 ELECTRICAL
POWER CORD TYPE |  |  | Mates to Factory Driver
[DC Barrel female socket (5.5mm x 2.1mm)]
POWER CORD LENGTH (IN) |  |  | 36
POWER CORD EXIT |  |  | A6 | [select location button]=> | [10 empty] | 6 | Radio Button Value
PANEL DRIVER INCLUDED |  |  | Factory Driver
ADDITIONAL CUSTOMIZATION
B
Back View
B1
B2
B3
B4
A
Front View
A1
A2
A3
A4
A5
A6
A7
A8

## RFQ Lists (hidden)
Order Type | Approved By | Rush | Date | Base Model | Frame Color | Panel Width [Landscape] (in) | Panel Height [Landscape] (in) | CCT (Kelvin) | LED Strip Layout | Operating Voltage | Power Cord Exit #1 |  | Power Cord Exit #2 | Thickness (in) | Add Diffuser? | Power (W) | Power Cord Length (in) | Power Cord Connector | Power Cord Descriptor | Panel Driver | Additional Information
[6 empty] | #VAL <= 118.11" (3000mm) | #VAL <= 98.43" (2500mm) | [8 empty] | #VAL = {supplied by Factory per quote} | #VAL = 1 - 144 | {IF 12V => DCS} {IF 24V => DCS/DCP/MP} |  |  | Any construction or customer project information not captured in above specifications.
NEW ORDER | N/A |  | 2022-11-24 | Frameless | N/A | When panel is in LANDSCAPE orientation, this always is the LONGER length, measured in inches, across the Width per Front View. | When panel is in LANDSCAPE orientation, this is always the SHORTER length, measured in inches, down the Height [aka Length] per Front View. | 2700K | 01 | 12 | 1 | A1 | A1 |  | None |  |  | Mates to Factory Driver | [DC Barrel female socket (5.5mm x 2.1mm)] | None |  |  |  | Front: Top Side, Left Corner [A1]
QUOTE | EVP | X |  | Snap Frame | Silver |  |  | 3000K | 02 | 24 | 2 | A2 | A2 |  | Diffuser |  |  | Mates to Hera 96W Driver | [DC Barrel male plug (5.5mm x 2.1mm)] | Factory Driver |  |  |  | Front: Top Side, Right Corner [A2]
SAMPLE | PRESIDENT |  |  | Double Sided Snap Frame | Black |  |  | 3500K | 03 |  | 3 | A3 | A3 |  |  |  |  | Mates to Hera Terminal Block | [Molex KK 2.54mm male plug with 22AWG white wire] |  |  |  |  | Front: Top Side, Right Corner [A3]
PROTOTYPE |  |  |  | Fabric Light Box | White |  |  | 4100K | 04 |  | 4 | A4 | A4 | [10 empty] | Front: Right Side, Top Corner [A4]
SPECIAL |  |  |  |  | SPECIAL |  |  | 4500K |  |  | 5 | A5 | A5 | [10 empty] | Front: Left Side, Bottom Corner [A5]
IN-HOUSE | [7 empty] | 5000K |  |  | 6 | A6 | A6 | [10 empty] | Front: Right Side, Bottom Corner [A6]
[8 empty] | 5300K |  |  | 7 | A7 | A7 | [10 empty] | Front: Bottom Side, Left Corner [A7]
[8 empty] | 5700K |  |  | 8 | A8 | A8 | [10 empty] | Front: Bottom Side, Right Corner [A8]
[8 empty] | 6000K |  |  | 9 | B1 | B1 | [10 empty] | Back: Top Left Corner [B1]
[8 empty] | 6500K |  |  | 10 | B2 | B2 | [10 empty] | Back: Top Right Corner [B2]
[11 empty] | 11 | B3 | B3 | [10 empty] | Back: Bottom Left Corner [B3]
[11 empty] | 12 | B4 | B4 | [10 empty] | Back: Bottom Right Corner [B4]
[22 empty] | Frame Type | Frame Pointer | Frame Image
[21 empty] | W225 x H150 pixels | Frameless | FI_Frameless
[23 empty] | FI_Snap1 |  | CF 005
[22 empty] | Snap Frame | FI_Snap2 |  | CF 012
[22 empty] | Double Sided Snap Frame | FI_Snap3 |  | CF 019
[22 empty] | Fabric Light Box | FI_Fabric
[25 empty] | Frame Type | Frame Pointer | Panel Image
[24 empty] | W370 x H225 pixels | Frameless | PI_Frameless
[25 empty] | Snap Frame | PI_Snap2
[25 empty] | Double Sided Snap Frame | PI_Snap3
[25 empty] | Fabric Light Box | PI_Fabric

## Panel-LED Product Code (hidden)
New Product Code Authorization Form |  |  |  | Rev 7, 2022-10-06
Category: Panel-LED
| Format: | HLxx/xF/wwhh/cc/tt/vv/p1[p2] |  | (Max Characters for FileMaker = 24)
Product Code => |  | HLPT/NF/3624/50/02/24/A6 |  | Character Count = 24
Panel / Light Box Description => | LED Light Panel, flexible LED Strip, No Frame: 36" x 24" x 0.25" [914mm x 610mm x 6mm], Landscape; 5000K White 2835H LED strip on 2 long sides; without diffuser; 24Vdc; 34W; (1) 36" [914 mm] power cord with DC Barrel female socket (5.5mm x 2.1mm) exiting per Front View: right side, bottom corner [A6]. Includes 24V 2A panel driver. |  | COPY/PASTE for FileMaker * Product Code * Panel / Light Box Description
HLPT/NF/3624/50/02/24/A6
| Code | Description | Code Options
Base Model | HLPT | LED Light Panel, flexible LED Strip | #CHAR = 4; HLP = Hera Light Panel + T = Flexible LED Strip R = Rigid LED Strip HLPB = Snap Frame Light Box, Fabric Light Box
Light Box Version | - | N/A - Light Panel | #CHAR = n/a; - = Light Panel, not Light Box S = Snap Frame Light Box F = Fabric Light Box
Frame Type | NF | No Frame | #CHAR = 2; NF = No Frame N2 = No Frame, 2-Sided
Frame Color | N/A | VALID | Standard Frame (CF 005) [S/B/W]F = [Silver/Black/White] Frame
X-Large Frame (CF 012) [S/B/W]X = [Silver/Black/White] X-Large Frame
2-Sided Frame (CF 019) [S/B/W]2 = [Silver/Black/White] 2-Sided Frame
Panel Width [Landscape] (in) | 36 | horizontal Width across top or bottom side of panel is 36 inches | #CHAR = 1 to 3; #VAL <= 118.11" (3000mm); When panel is in LANDSCAPE orientation, this always is the LONGER length, measured in inches, across the Width per Front View.
Panel Height [Landscape] (in) <aka Panel Length (in)> | 24 | vertical Height down left or right side of panel is 24 inches | #CHAR = 1 to 2; #VAL <= 98.43" (2500mm); When panel is in LANDSCAPE orientation, this is always the SHORTER length, measured in inches, down the Height [aka Length] per Front View.
CCT (Kelvin) | 50 | 5000K | #CHAR = 2; CCT (Correlated Color Temperature) in Kelvins per Factory: 2700K, 3000K, 3500K, 4100K, 4500K, 5000K, 5300K, 5700K, 6000K, 6500K
LED Strip Layout | 02 | LED strip on 2 long sides | #CHAR = 2; 01 = LED Strip on 1 Long Side 02 = LED Strip on 2 Long Sides 03 = LED on 3 Sides (HLPB only) 04 = LED on 4 Sides (HLPB only)
Operating Voltage | 24 | 24Vdc, 0.5A-8.32A | #CHAR = 2; 12 = 12Vdc Constant Voltage, 0.5A-10A 24 = 24Vdc Constant Voltage, 0.5A-8.32A
Power Cord Exit #1 | A6 | Front View: right side, bottom corner | #CHAR = 2; Exit at Edge per Front View: A1 = Top Side, Left Corner A2 = Top Side, Right Corner A3 = Left Side, Top Corner A4 = Right Side, Top Corner A5 = Left Side, Bottom Corner A6 = Right Side, Bottom Corner A7 = Bottom Side, Left Corner A8 = Bottom Side, Right Corner Exit at Back per Back View: B1 = Top Left Corner B2 = Top Right Corner B3 = Bottom Left Corner B4 = Bottom Right Corner
Power Cord Exit #2 |  | 2nd Power Cord Not Required | #CHAR = 2; Exit at Edge per Front View: A1 = Top Side, Left Corner A2 = Top Side, Right Corner A3 = Left Side, Top Corner A4 = Right Side, Top Corner A5 = Left Side, Bottom Corner A6 = Right Side, Bottom Corner A7 = Bottom Side, Left Corner A8 = Bottom Side, Right Corner Exit at Back per Back View: B1 = Top Left Corner B2 = Top Right Corner B3 = Bottom Left Corner B4 = Bottom Right Corner
Thickness (in) | 0.25 | 0.25 inches thick | #CHAR = n/a; #VAL = {supplied by Factory per quote}; 0.25 = Standard for NF
Add Diffuser? | None | without diffuser | #CHAR = n/a; None = without diffuser Diffuser = with diffuser
Power (W) | 34 | 34W | #CHAR = n/a; #VAL = {supplied by Factory per quote}
Power Cord Length (in) | 36 | Power Cord Length is 36 inches | #CHAR = n/a; #VAL = 1 - 144
Power Cord Connector * If 12V -> DC Socket only * If 24V -> DC Socket or DC Plug or Molex Plug | DC Socket | DC Barrel female socket (5.5mm x 2.1mm) | #CHAR = n/a; DC Socket = DC Barrel female socket (5.5mm x 2.1mm) [for Factory panel driver] DC Plug = DC Barrel male plug (5.5mm x 2.1mm) [for Hera 96W driver] Molex Plug = Molex KK 2.54mm male plug with 22AWG white wire [Hera standard power cord]
Include Panel Driver? | Factory Driver | Includes 24V 2A panel driver. | #CHAR = n/a Factory Driver = Panel driver included. None = To be used with Hera 24Vdc driver.
Additional Information for Description |  |  | #CHAR = n/a Any construction or customer project information not captured in above specifications.
Item Invoice Description | LED Light Panel, flexible LED Strip, No Frame: 36" x 24" x 0.25" [914mm x 610mm x 6mm], Landscape; 5000K White 2835H LED strip on 2 long sides; without diffuser; 24Vdc; 34W; (1) 36" [914 mm] power cord with DC Barrel female socket (5.5mm x 2.1mm) exiting per Front View: right side, bottom corner [A6]. Includes 24V 2A panel driver. |  | Information for FileMaker Record
Item Long Description | LED Light Panel, flexible LED Strip, No Frame: 36" x 24" x 0.25" [914mm x 610mm x 6mm], Landscape; 5000K White 2835H LED strip on 2 long sides; without diffuser; 24Vdc; 34W; (1) 36" [914 mm] power cord with DC Barrel female socket (5.5mm x 2.1mm) exiting per Front View: right side, bottom corner [A6]. Includes 24V 2A panel driver. |  | Information for FileMaker Record
Supplier Name | Cosun Technology |  | Information for FileMaker Record
Supplier Item Number |  |  | Information for FileMaker Record
Supplier Cost | 1 |  | Information for FileMaker Record
Hera SDP |  |  | Information for FileMaker Record
MOQ |  |  | Information for FileMaker Record
ABCS ? | S |  | Information for FileMaker Record
Carton Quantity |  |  | Information for FileMaker Record
Notes |  |  | Information for FileMaker Record

## Product Code Lists (hidden)
Base Model | Light Box Version | Frame Type | Panel Width [Landscape] (in) | Panel Height [Landscape] (in) | CCT (Kelvin) | LED Strip Layout | Operating Voltage | Power Cord Exit #1 | Power Cord Exit #2 | Thickness (in) | Add Diffuser? | Power (W) | Power Cord Length (in) | Power Cord Connector | Include Panel Driver? | Additional Information
#CHAR = 4 | #CHAR = n/a | #CHAR = 2 | #CHAR = 1 to 3 | #CHAR = 1 to 2 | #CHAR = 2 | #CHAR = 2 | #CHAR = 2 | #CHAR = 2 | #CHAR = 2 | #CHAR = n/a | #CHAR = n/a | #CHAR = n/a | #CHAR = n/a | #CHAR = n/a | #CHAR = n/a | #CHAR = n/a
|  |  | #VAL <= 118.11" (3000mm) | #VAL <= 98.43" (2500mm) | [7 empty] | #VAL = {supplied by Factory per quote} | #VAL = 1 - 144 | {IF 12V => DCS} {IF 24V => DCS/DCP/MP} |  | Any construction or customer project information not captured in above specifications.
HLPT | - | NF | When panel is in LANDSCAPE orientation, this always is the LONGER length, measured in inches, across the Width per Front View. | When panel is in LANDSCAPE orientation, this is always the SHORTER length, measured in inches, down the Height [aka Length] per Front View. | 27 | 01 | 12 | A1 | A1 |  | None |  | from RFQ | DCS | Y
HLPR | S | N2 |  |  | 30 | 02 | 24 | A2 | A2 |  | Factory Driver |  |  | DCP | N
HLPB | F | BF |  |  | 35 | 03 |  | A3 | A3 |  | from RFQ |  |  | MP | from RFQ
|  | SF |  |  | 41 | 04 |  | A4 | A4 |  |  |  |  | from RFQ
|  | WF |  |  | 45 |  |  | A5 | A5
|  | BX | from RFQ | from RFQ | 50 |  |  | A6 | A6
|  | SX |  |  | 53 |  |  | A7 | A7
|  | WX |  |  | 57 |  |  | A8 | A8
|  | B2 |  |  | 60 |  |  | B1 | B1
|  | S2 |  |  | 65 |  |  | B2 | B2
|  | W2 |  |  | from RFQ |  |  | B3 | B3
|  | xx | [5 empty] | B4 | B4
from RFQ